{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":24,"n_cols":10,"rows_kept":24,"merged":[[0,0,0,9],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,1,6],[1,7,2,7],[1,8,2,8],[1,9,2,9],[23,0,24,9]],"flags":["formulas_cached_only"]}
["技术研究院对外开放分析测试设备一览表"]
["设备名称","设备型号","服务内容","责任人","存放地点","收费标准",null,"设备状态","是否开放","备注"]
[{"$nulls":5},"校内","校外"]
["电子顺磁共振波谱仪（EPR）","德国布鲁克EPR A/300","测试自由基、晶体缺陷","熊重铎","6-317","300元/时(自测)；100元/样","200元/样","正常","开放","活性自由基测试需另收捕获剂费用50元/样"]
["气相色谱质谱仪（GC-MS）","江苏天瑞     GC-MS 6800","定性定量分析热稳定性好、沸点低于300℃的有机混合物","熊重铎","6-314","100元/小时（自测）；150元/样","200元/样","正常","开放","提供分离条件，样品需前处理另加50元/样"]
["扫描电镜","日本jsm6510","测试材料结构形貌","熊祎","8-104","60元/小时","100元/小时","正常","开放"]
["喷镀仪","日本电子","测试前样品喷镀","熊祎","8-104","100元/样","100元/样","正常","开放"]
["元素分析仪","赛默飞","固体粉末样品C,H,N,S元素含量测定","张可","8F-202","80元/样（C、H、N、S)120元/样（O）","100元/样（C、H、N、S)150元/样（O）","正常","开放"]
["热重","耐驰","固体样品热分解温度的测定","张可","8F-202","80元/样","200元/样","正常","开放"]
["动态热机械分析仪","耐驰","测定粘弹性材料的力学性能与时间、温度或频率的关系","张可","8F-202","120元/样","240元/样","维修中","/"]
["防紫外线透过及防晒保护测试系统","南京宏大","用于测试纺织品的紫外线透过率和防紫外性能","刘柳","8F-206","40元/小时","20元/样","正常","开放"]
["高级旋转流变仪","TA","高分子溶液、悬浮液、乳化液、糊状物等体系流变性能测试","刘柳","8F-206","40元/小时","60元/样","正常","开放","变温测试价格面议"]
["Colori7电脑测色配色系统","爱色丽","测量K/S值","刘柳","8F-202","20元/小时","20元/样","正常","开放"]
["织物厚度测试仪","宁波纺仪","测量织物厚度","刘柳","8F-206","40元/小时","20元/样","正常","开放"]
["纤维细度分析仪","宁波纺仪","分析纤维细度","刘柳","8F206","40元/小时","40元/样","正常","开放"]
["万能强力试验仪","英斯特朗","测量高分子材料断裂强力","刘柳","8F206","40元/小时","10元/样","维修中","/"]
["差式扫描量热仪(DSC)","耐驰","研究材料在可控程序温度下的热效应，提供液氮冷却方式。","刘英","8F-202","100元/小时","300元/样","正常","开放"]
["显微拉曼光谱仪","DXR","分析物质的组分和结构","刘英","8F-202","60元/样","100元/样","维护中","/"]
["紫外可见分光光度计","北京普析","有机分子结构研究，混合物各组分含量分析，物质鉴定，纯度检测","刘英","8F-206","25元/小时","20元/样","正常","开放"]
["傅里叶变换红外光谱仪(FIR)","美国赛默飞世尔iS5","分析分子结构和化学组成","王茜","6-317","30元/小时(自测)，30元/样","60元/样","正常","开放"]
["台式X射线衍射仪(XRD)","日本理学\nminiflex600\n","分析材料的成分、材料内部 原子或分子的结构或形态等","王茜","6-317","40元/小时（自测），40元/样","80元/样","正常","开放"]
["多功能酶标仪(带荧光)","美国MD SpectraMax i3x","生化样品如核酸、蛋白、细胞等定性及定量分析 ","王茜","6-319","20元/小时（自测），10元/样","20元/样","正常","开放"]
["倒置显微镜(带荧光)","德国徕卡DMi8","微生物、细胞、细菌、组织培养、悬浮体、沉淀物等观察","王茜","6-319","30元/小时（自测），20元/样","30元/样","正常","开放"]
["设备预约暂采取邮件预约和现场预约为主，逐步实现预约系统预约。预约表格在技术研究院网站下载，预约邮箱tri@wtu.edu.cn，预约地点：8F204，联系电话：59367646。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}